## Rainwater Tank Usage Guide
Rainwater Tank Usage Guide
The Rainwater Tank Usage Guide is a simple tool to help you calculate how much water is consumed in your home (for the toilet, laundry and garden/lawn) and how a rainwater tank could assist to reduce your water bills.
To use this guide, click on the Data Input Tab (below) and enter the required information in the Enter Your Information Here (column B) . Details on why all the data is required is listed below.
The Rainwater Tank Usage Guide assumptions:
The average rainfall is based on historic data from the Bureau of Meteorologys Adelaide Aiport Rain Station
Rainwater collection first flush diverters are not accounted for in this guide.
Water used in the toilet is based on being flushed 5 times a day by each individual in the household.
Money saved is based on the average annual water use in Metropolitan Adelaide per household in 2008/09 (190KL) divided by 2010/11 prices, which equates to $1.72 per KL
The flow rate from a hose is assumed to be 40 litres a minute (sourced from Watercorp, factsheet 10)
Please note:
This tool is designed to provide a guide only and users should always seek professional advice to determine their exact rainwater needs.
Explanations
Number of residents per household | Each person in a household contributes to water usage on a weekly basis and this will affect the total water requirements.
Area of roof connected to rainwater tank | The volume of water available from a rainwater tank will be directly related to the size of the catchment of the roof, a rough guide will range from 50 m2 (the minimum connected roof area for new residential houses according to Planning SA) to 200 m2.
Volume of water used per toilet flush | The average person uses the toilet approximately 5 times a day, but different toilets use different volumes of water. As a guide most older single flush toilets use approximately 11 litres per flush, while modern dual flush toilets use between 3 litres for half a flush to 6 litres for a full flush, for dual flush toilet you should use an average between the two.
Litres used per load in washing machine | All washing machines use different volumes of water per load. As a guide, front loader washing machines use between 50 to 70 litres per load and top loader washing machines use between 100-120 litres per load, but refer to your owners manual for more accurate information on your washing machine.
Number of loads washed per week | All houses use their washing machine differently, as a number of factors influence the amount of loads required each week.
Number of days garden / lawn watering | Gardens and lawns can use a lot of water, as different gardens and lawns require different irrigation regimes.
Average length of time spent watering the garden / lawn | The longer you spend watering your garden/lawn will increase the volumes of water used.
Size of rainwater tank | The larger your rainwater tank is the more water you will be able to collect from the roof of your house, however a roof can only generate so much water, so it is important to pick the right sized tank for your water requirements.

## Data Input
Enter your figures here
Number of residents per household | 0 | People living in the household
Area of roof connected to rainwater tank | 0 | Metres squared (m2)
Volume of water used per toilet flush | 0 | Litres
Litres used per load in washing machine | 0 | Litres
Number of loads washed per week | 0 | Load per week
Number of days garden / lawn watering | 0 | Days per week
Average length of time spent watering the garden / lawn | 0 | Minutes per watering session
Size of rainwater tank | 0 | Litres
Results
Total volume of rainwater harvested | #DIV/0! | Litres
Additional mains water needed for toilet, laundry and irrigation use | #DIV/0! | Litres
Total water consumption (toilet, laundry, garden/lawn) | #DIV/0! | Litres
Overflow from the rainwater tank | #DIV/0! | Litres
Money saved by installing a rainwater tank (excluding cost of the tank and installation) | #DIV/0! | Dollars saved per year
#DIV/0!
Number of Residents per Household | 0
Connected Roof Area | 0 | m2
Potential Stormwater Collection | 0 | Litres
Potential Water Reduction in Percent | #DIV/0! | percent
Toilet Flushing Capacity | 0 | Litres
Water Used in the Toilet per Year | 0 | Litres
Litres per Wash in Washing Machine | 0 | Litres
Weekly Uage of Washing Machine | 0 | times a week
Washing Machine Yearly Usage | 0 | Litres
Total Water Usage in House | 0 | Litres
Irrigation | 0 | Times a week
Total water usage in the Garden | 0 | Litres
Total Rainwater Requirements | 0 | Litres
Rainwater usage over a full year | 0 | Litres
How much water is left in the tank after a full year of use | 0 | Litres
rainwater tank | 0 | Litres
Actuall Rainwater Overflow from Tank | #DIV/0! | Litres
Total Water Supplied to house through Rainwater | #DIV/0! | Litres
Total Rainwater | #DIV/0! | Litres
Water requirements minus rainwater usage | #DIV/0! | Litres
| Number of residents per household | Number of Days in the month | Roof Connected Area | Rainfall (m) | volume of water in tank (m3) | Litres of Water in Tank (Litres) | Water use per person per month (Litres) | Water use per household per month (Litres) | potential water reduction in percent | Toilet Flush (Litres) | water used in toilet per day (based on 6 litre full flush) | Water used per month in the toilet (Litres) | Uses per week | Weeks in Month | Front Loader Washing Machine use per run cycle (Litres) | Water Consumed each Month | Irrigation |  | Water Used for Irrigation | Rainwater Used Per Month (Litres) | Water remaining within Rainwater Tank | Rainwater Tank | Accumulated water in Tank | Actual Overflow from the rainwater tank (Litres) | Actual Overflow from Rainwater Tank | Water Supplied through SAWater | Actual Water Supplied through SAWater | tt
Jan | 0 | 31 | 0 | 0.0177 | 0 | 0 | 7422.64 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Feb | 0 | 28 | 0 | 0.0181 | 0 | 0 | 6704.32 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mar | 0 | 31 | 0 | 0.0208 | 0 | 0 | 7422.64 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Apr | 0 | 30 | 0 | 0.0351 | 0 | 0 | 7183.2 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 |  | #DIV/0!
May | 0 | 31 | 0 | 0.0541 | 0 | 0 | 7422.64 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
june | 0 | 30 | 0 | 0.0556 | 0 | 0 | 7183.2 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
July | 0 | 31 | 0 | 0.0596 | 0 | 0 | 7422.64 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Aug | 0 | 31 | 0 | 0.0496 | 0 | 0 | 7422.64 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sept | 0 | 30 | 0 | 0.046 | 0 | 0 | 7183.2 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Oct | 0 | 31 | 0 | 0.0382 | 0 | 0 | 7422.64 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nov | 0 | 30 | 0 | 0.0256 | 0 | 0 | 7183.2 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dec | 0 | 31 | 0 | 0.024 | 0 | 0 | 7422.64 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 4.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  |  |  | 0 | 0 |  | 0 | #DIV/0! |  |  | 0 |  | 52.1429 |  | 0 |  |  | 0 | 0 | 0 |  | 0 | #DIV/0! | #DIV/0! | 0 | 0
Average number of residents per household from 2006 Bureau of statistics (2.43) | [23 empty] | Actual Rainwater Used | #DIV/0! | #DIV/0!
0
0